Unit Status

|  |  |  |  |
| --- | --- | --- | --- |
| Unit Name | On MADs Platform | On Dataplicity | Remarks |
| 5kW - Unit 1 Backup 1 | offline | offline | Customer side offline |
| 5kW - Unit 3 | online | online |  |
| 5kW - Unit 4 | offline | offline | No SIM |
| 5kW - Unit 5 | offline | offline | No SIM |
| 10kW - Unit 6 | offline | offline |  |
| 10kW - Unit1\_Shinoda | partial | online | Data lagging |
| Cleantech\_10\_100kWh | offline | offline | Maintenance |
| 5kW - Unit 12 | offline | offline | Yet to deliver |
| 10kW - Unit 7 | offline | offline | Maintenance |
| 5kW - Unit 9 | offline | offline | Offline due to upgrade |